## Sheet1
Name | Price | Q-ty | Why
Server Cabinet 22U | 500 | 1 | First we need a place to put all our equipment
Misc. things | 500 | differs | Then we need things like connectors, power cords, Ethernet cables and a lot more little things
ISP | 50 | 2 | We need to ISPs, so when one falls, second will kick in
Public IP | 5 | 6 | We gonna have 3 servers, so we need 6 IP address. 3 per ISPs
Router | 500 | 2 | Any decent router will do preferably with Load balancing capabilities (like Mikrotik), and we need two, so if one fails, second will continue
Generic Server | 1000 | 3 | Lets take lower end servers for our LAMP/LEMP private Cloud solution
Switch | 300 | 2 | Any decent L2 switch, as well need two, for fault tolerance
Domain | 50 | 1 | Single domain for one server/website will do
Storage for our Servers | 100 | 18 | For a proper storage for our solution we need to make a RAID 10 configuration preferable with 200GB or more SSDs, so we need to have 6 disks per server (RAID 10 array with 3 legs)
Firewall | 500 | 2 | Fortigate for example, as well need two for fault tolerance
UPS system | 2000 | 1 | At this point we need pretty beefy UPS
Electricity bills | 100 |  | Let's assume that our private Cloud will be consuming 100$ in electricity bills a month, we need to run it for 12 moths
System Administrator/ NOC Engineer | 1000 |  | And we need a person to manage all this beuty all year round
Estimated Upfront cost: |  |  | 11680
Estimated Yearly running cost: |  |  | 13860
Total cost for a year: |  |  | 25540
CAPEX vs OPEX cost analysis for a year
| Private cloud solution |  |  | AWS Public cloud
Price for a month | 1155 |  |  | 972
Initial Investment | 11680 |  |  | 0
Running price for a year | 13860 |  |  | 11664
Total price for a year | 25540 |  |  | 11664
Difference | 13876
In favor of AWS Public cloud solution